{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["购样清单"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"购样清单","index":0,"n_rows":38,"n_cols":12,"rows_kept":38,"merged":[[0,0,0,10],[1,0,1,4],[37,0,37,8]],"flags":["formulas_cached_only"]}
["广州市花都区2024年燃气器具、电线电缆和消防器材产品质量监督抽查结果"]
[]
["序号","样品名称","被抽检人","被抽检人地址","标称生产单位","生产单位地址","标称商标","规格型号","批号或\n生产日期","综合判定","不合格项目","备注"]
[1,"家用燃气灶具","广州市花都区新华万欢生活超市","广州市花都区新华街龙珠路27号（部位：103号）","佛山市顺德区晧铃电器有限公司","佛山市顺德区勒流街道光大社区永新三路1号","/","JZY-D2","2024/6","未发现不合格","/"]
[2,"家用瓶装液化石油气调压器","广州市花都区新华万欢生活超市","广州市花都区新华街龙珠路27号（部位：103号）","宁波科亿阀门有限公司","慈溪市周巷镇天元潭北路98号","中群","JYT0.6L","/","未发现不合格","/"]
[3,"铜芯聚氯乙烯绝缘阻燃软电缆","广州市花都区新华恒添电工器材商行","广州市花都区新华街三东大道南莲塘村二村经济社瀛富国际建材家居采购中心内A区A09A商铺","广东珠江电线电缆有限公司","佛山市南海区里水镇和桂工业园A区","/","1×2.5mm2/ZC-BVR","2024-10-07","未发现不合格","/"]
[4,"铜芯聚氯乙烯绝缘及护套软电缆","广州市花都区新华恒添电工器材商行","广州市花都区新华街三东大道南莲塘村二村经济社瀛富国际建材家居采购中心内A区A09A商铺","广东金源宇电线电缆有限公司","广东省广州市花都区秀全街冠山南路8号（金源宇工业园）","图形","3*1.5mm2/60227 IEC 53(RVV)","2024-06-29","未发现不合格","/"]
[5,"家用燃气灶","广州益佳电商有限公司","广州市花都区公益路27号首层001（含二、三层）部位：三层","中山市樱雪集团有限公司","广东省中山市南头镇建业路59号","/","JZT-Q2310SW","2024年10月13日","未发现不合格","/"]
[6,"家用供热水燃气快速热水器","广州益佳电商有限公司","广州市花都区公益路27号首层001（含二、三层）部位：三层","广东万和新电气股份有限公司","佛山市顺德高新区（容桂）建业中路13号","/","JSQ30-16W15","检样:2024年12月03日,备样:2024年10月22日","未发现不合格","/"]
[7,"轻型聚氯乙烯护套软线","广州南佳线缆有限公司","广州市花都区新华街三东大道南莲塘村二村经济社瀛富国际建材家居采购中心内A区A11ABC","南方珠江科技有限公司","广州市增城区宁西街工业一路2号2栋","南方一线","3×0.5mm2/60227 IEC 52(RVV)","2023-08-12","未发现不合格","/"]
[8,"铜芯聚氯乙烯绝缘及护套软电缆","广州市花都区新华石加石五金商行","广州市花都区新华街三东大道南莲塘村二村经济社瀛富国际建材家居采购中心内B区B56商铺","广东金源宇电线电缆有限公司","广东省广州市花都区秀全街冠山南路8号（金源宇工业园）","图形","2*1.5mm2/60227 IEC 53(RVV)","2024-11-20","未发现不合格","/"]
[9,"阻燃型铜芯聚氯乙烯绝缘聚氯乙烯护套软电缆","广州众名缆五金电缆有限公司","广州市花都区新华街三东大道南莲塘村二村经济社瀛富国际建材家居采购中心A区A02B","广东黄埔珠江电线电缆有限公司","广州市增城区仙村镇西南村西南开发区47号","图形商标","3×1mm2 100m/卷 300/500V/ZC-RVV","2024年9月4日","未发现不合格","/"]
[10,"一般用途单芯硬导体阻燃B类无护套电缆","广州众名缆五金电缆有限公司","广州市花都区新华街三东大道南莲塘村二村经济社瀛富国际建材家居采购中心A区A02B","广东庆丰电缆集团有限公司","广州市番禺区沙湾镇青萝大道127号101","石井","450/750V 1.5mm2 100m/卷/ZB-BV","2024年11月27日","未发现不合格","/"]
[11,"家用供热水燃气快速热水器","广东苏宁易购销售有限公司花都龙珠店","广州市花都区新华街龙珠路29号龙珠市场首、二层部分","广东万家乐燃气具有限公司","广东省佛山市顺德区大良街道五沙社区顺园南路9号","/","JSQ26-13K5C1(F)","检样:2024年11月14日,备样:2024年11月21日","未发现不合格","/"]
[12,"家用嵌入式双眼燃气灶","广东苏宁易购销售有限公司花都龙珠店","广州市花都区新华街龙珠路29号龙珠市场首、二层部分","广东万家乐燃气具有限公司","广东省佛山市顺德区大良街道五沙社区顺园南路9号","/","JZT-V2C1","2024年11月16日","未发现不合格","/"]
[13,"铜芯聚氯乙烯绝缘阻燃C类软电缆","广州市花都区新华日兴五金机电商行","广州市花都区新华街新华路74号之三102铺","南方珠江科技有限公司","广州市增城区宁西街工业一路2号2栋","南方一线","ZC-BVR","2024-11-25","未发现不合格","/"]
[14,"铜芯聚氯乙烯绝缘软电缆","广州市花都区新华众汇商行","广州市花都区新华街新华路115号之4","深圳市瑞兴利实业有限公司","龙岗区嶂背路嶂背工业区","图形","1×2.5mm2/BVR","/","未发现不合格","/"]
[15,"阻燃C类电缆","广州市花都区花城威达五金店","广州市花都区杨一村自编建设北路209号A座64、65、66、67、68、69号","广州市珠江电线厂有限公司","广州市花都区秀全街毕村北路4号3、4号厂房","环市","450/750V 1×2.5mm2/ZC-BV","2023-08-11","未发现不合格","/"]
[16,"铜芯聚氯乙烯绝缘阻燃电线电缆","广州市花都区新华常景五金机电商行","广州市花都区新华街新华路123号123号之一、之二、之三（部位：18-19号铺）（即新华路123号首层南面由西至东第9-10间）","广东金联宇电缆集团有限公司","佛山市三水区白坭镇聚龙湾B区1号","金联宇","1.5mm2/ZB-BV","/","未发现不合格","/"]
[17,"普通聚氯乙烯护套软线","广州市花都区新华长大五金电器商行","广州市花都区新华街新华路115号之二","广东金联宇电缆实业有限公司","佛山市南海区里水镇沙步工业区","金联宇","300/500V 2×1.5mm2 100m/卷/60227 IEC 53(RVV)","2024.01.05","未发现不合格","/"]
[18,"铜芯聚氯乙烯绝缘阻燃B类软电缆","广州市花都区新华长大五金电器商行","广州市花都区新华街新华路115号之二","广东庆丰电缆集团有限公司","广州市番禺区沙湾镇青萝大道127号101","石井","450/750V 2.5mm2 100m/卷/ZB-BVR","2024年09月24日","未发现不合格","/"]
[19,"瓶装液化石油气调压器","广州市花都区花城街大昌五金电材五金交电","广州市花都区花城街罗仙路57号之102号","慈溪市雄鹰阀门有限公司","浙江省慈溪市长河镇长丰村大路头路51号","GDXF","JYT0.6L","2024-04-22","未发现不合格","/"]
[20,"一般用途单芯硬导体无护套阻燃耐火电缆","广州市花都区花城街大昌五金电材五金交电","广州市花都区花城街罗仙路57号之102号","广州电缆厂有限公司","广州市南沙区榄核镇榄张路51号","图形","1×4mm2/ZCN-BV","2023年6月7日","未发现不合格","/"]
[21,"铜芯聚氯乙烯绝缘软电缆","广州市花都区花城锋德利亨五金经营部","广州市花都区紫薇路37-1号商铺","广州市秀全电线电缆有限责任公司","广州市花都区新华镇三东工业园凤凰路","秀全","1.5mm2/60227 IEC 01(BV)","/","未发现不合格","/"]
[22,"铜芯聚氯乙烯绝缘阻燃软电缆","广州市花都区花城锋德利亨五金经营部","广州市花都区紫薇路37-1号商铺","珠江花环电力科技有限公司","广东省东莞市常平镇常平白沙路5号1栋","/","4mm2/ZC-BVR","2024.09.29","未发现不合格","/"]
[23,"聚氯乙烯绝缘软电缆电线","广州市花都区新雅佳冠五金灯饰店","广州市花都区新雅街夏花六路3号6栋401铺","广东建兴电线电缆有限公司","/","建兴电缆","2×1mm2 300V/500V 100m/卷/60227 IEC 53(RVV)","2024年10月16日","未发现不合格","/"]
[24,"阻燃型铜芯聚氯乙烯绝缘软电缆","广州市花都区新雅佳冠五金灯饰店","广州市花都区新雅街夏花六路3号6栋401铺","广东运行电缆有限公司","广东省普宁市赤岗镇陈厝寨西片工业区126号","运行电缆","1*2.5mm2 450/750V 100米/卷/ZC-BVR","2024-04-09","未发现不合格","/"]
[25,"家用供热水燃气快速热水器","广州市广百新一城广场商贸有限公司","广州市花都区新华街龙珠路41号","广东万和新电气股份有限公司","佛山市顺德高新区（容桂）建业中路13号","/","JSQ25-13Q8","检样:2024年09月25日,备样:2024年10月08日","未发现不合格","/"]
[26,"嵌入式家用燃气灶","广州市广百新一城广场商贸有限公司","广州市花都区新华街龙珠路41号","杭州老板电器股份有限公司","浙江省杭州市临平区临平经济开发区临平大道592号","/","JZT-7B051","2024.11.12","未发现不合格","/"]
[27,"家用燃气灶具","广州市花都区新华珠英厨卫电器店","广州市花都区新华街三东大道莲塘村瀛富五金城旁西行50米1-2号商铺","佛山市顺德区康琳电器实业有限公司","佛山市顺德区容桂华口居委会顺德高新区（容桂）华天路18号之一","/","JZT-D","2024年12月03日","未发现不合格","/"]
[28,"家用燃气灶","广州市花都区新华环宇电器商场","广州市花都区新华街新华路43号","华帝股份有限公司","广东省中山市小榄镇工业大道南华园路1号","/","JZT-ZJ307","/","未发现不合格","/"]
[29,"家用燃气灶具","广州市花都区新华环宇电器商场","广州市花都区新华街新华路43号","广东康宝电器股份有限公司","广东省佛山市顺德区杏坛镇齐新路268号","康宝","JZT-Q252-Z1","2024-06-26","未发现不合格","/"]
[30,"家用燃气灶","广州市花都区新雅丰购百货商店","广州市花都区新雅街106国道边清布村十五队八角楼101号铺","佛山市憬宣电器有限公司","佛山市顺德区容桂街道华口社新发路3号2栋701（住所申报）","/","JZY-JXTDA023","/","未发现不合格","/"]
[31,"家用瓶装液化石油气调压器","广州市花都区秀全永祥晟五金电器经营部","广州市花都区秀全街大布村七队上庄旧村16号22-23号商铺","慈溪市创威阀门厂（个体工商户）","浙江省宁波市慈溪市长河镇贤江村贤江支路569号","/","JYT0.6L-A","2024-04-01","不合格","结构(调压\n器的接头组\n件)"]
[32,"家用燃气灶具","广州市花都区秀全小亮日杂店","广州市花都区秀全街大布村下庄旧市场东三巷8号之十五143铺(自主申报)","佛山市精财电器有限公司","/","/","JZY-TD-AX","2023-11-01","不合格","结构的一般\n要求"]
[33,"过滤式消防自救呼吸器","广州正邦应急消防科技有限公司","广州市花都区新雅街广塘村白鳝塘18队南向新庄118号302(空港花都)","广州正邦应急消防科技有限公司","广州市花都区新雅街广塘村白鳝塘18队南向新庄118号302(空港花都)","ZBYJ","TZL30","20241215","未发现不合格","/"]
[34,"过滤式消防自救呼吸器","广州市凯安消防科技有限公司","广州市花都区花山镇平西村委西侧二楼","广州市凯安消防科技有限公司","广州市花都区花山镇平西村委西侧二楼","/","TZL30E","202412","未发现不合格","/"]
["合计",{"$nulls":8},"/","/"]