{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["清单"],"read":"whole","date_system":"1900"}

{"sheet":"清单","index":0,"n_rows":205,"n_cols":7,"rows_kept":205,"merged":[[0,0,0,8],[1,0,1,8],[9,0,9,8],[14,0,14,8],[16,0,16,8],[19,0,22,0],[19,1,22,1],[19,2,22,2],[24,0,24,8],[25,6,26,6],[30,1,33,1],[30,2,33,2],[36,0,36,8],[39,1,40,1],[39,2,40,2],[41,1,42,1],[41,2,42,2],[43,0,43,8],[47,0,47,8],[52,0,52,8],[57,0,57,8],[62,0,62,8],[70,0,70,8],[71,0,71,8],[165,0,165,8],[204,0,204,8]]}
["花都区颐养院设备设施修缮综合项目维修及配置清单"]
["一、2号楼污洗间设备（3套）：4、5、6层每层各一间污洗间"]
[1,"过滤池","1450*500","1、大号三槽洗浸泡水池\n2、1.2厚\n3、304",3,"套","4、5、6层每层各一间污洗间"]
[2,"拖把池","555*360*420","1、尺寸: 555*360*420\n2、颜色分类: M145溢孔+升级台控 M1\n3、下水配置: 非全铜 下水自动 全铜",3,"套"]
[3,"专用水龙头",null,"1、全铜全自动加长\n2、一分二接头",12,"个"]
[4,"浴室置物架安装",null,"利旧",3,"个"]
[5," 其他材料","定制","1、PVC排水管\n2、PVC进水管\n3、其他五金安装材料",6,"套"]
[6,"毛巾挂勾","400*10","1、太空铝\n2、枪灰色",3,"个"]
[7," 排污口修复","定制","1、拆除马桶、清运\n2、修复地面",3,"套"]
["二、2号楼更换房间前台插座及前台排水管路系统：4－8层（设备安装及改造）"]
[1,"二二三三插",null,"1、国标220V 10A",106,"套"]
[2,"安装配件","定制","1、罗丝、胶布等",106,"套"]
[3,"冷热水管安装","定制","1、冷热水管接入\n2、污水管接入",5,"套"]
[4,"安装人工费","定制","拆装、测试",106,"套"]
["三、其他杂项（综合楼二楼及2号楼4－6楼）"]
[1,"其他","洗手间隔板","隔板，3000*2000，定制1000门板",55,"平方","综合楼2、3层，2号楼3、4、5楼"]
["四、综合楼6楼平台区（15个接水灌盖点）"]
[1,"灌盖专用水龙头",null,"304不锈钢、纯铜内胆",15,"个"]
[2,"PPR专用水管",null,"热熔专用水管、不含铅、饮用级",40,"条"]
[3,"安装配件",null,"热水管接头",20,"个"]
[{"$nulls":3},"热转换头",15,"个"]
[{"$nulls":3},"热给水阀门",5,"个"]
[{"$nulls":3},"其他配件：胶水带、热熔接口圈、固管码等",1,"套"]
[4,"安装人工费","定制","含：开孔、预埋、测压、试水、防水等",1,"项"]
["五、园区绿化区域（增加80个喷淋点位，更换54个喷淋头）"]
[1,"水压增压泵",null,"1、全自动静音不锈钢抽水泵\n2、2300W－智能恒压",1,"台","水路水压力帕不足需增压"]
[2,"进出水增压阀",null,"全铜，吸水进水合一",2,"个"]
[3,"喷淋头",null,"园林喷淋喷头360度旋转自动浇花洒水器，锌合金旋转式喷头（内置滤网）",134,"个","新增80个，更换54个"]
[4,"喷淋头地插",null,"锌合三角式地插（内置滤网）",80,"个"]
[5,"PPE冷水管",null,"PPR25 冷水管",800,"米"]
[6,"安装配件",null,"水管接头（45度、90度）",50,"个"]
[7,null,null,"转换头（三通、直通等）",80,"个"]
[8,null,null,"旋转底座（固定式）",134,"套"]
[9,null,null,"出水阀",134,"个"]
[10,"更换旧喷头","定制","拆除、安装喷头，",54,"套"]
[11,"安装新喷头","定制","水管路安装，开挖预埋，安装新喷头（测试漏水、水压）",80,"套"]
["六、地面瓷砖修缮：（综合楼：4层公共通道138平方，楼梯间7平方；二号楼：4至8层室内部分（含楼间）211平方；外围公园道路：休闲小道及花基部分28平方；"]
[1,"铲除原有破裂及空鼓瓷砖","定制","清除瓷砖，打扫、清运6KM外",384,"㎡"]
[2,"铲除水泥砂浆层","定制","原水泥面砂浆层清理、打扫、清运6KM外",384,"㎡"]
[3,"室内地面瓷砖修补","定制","平整地面，水泥砂浆4公分厚",354,"㎡"]
[4,null,null,"瓷砖胶固、德高填缝剂填充缝隙",354,"㎡"]
[5,"室外大理石瓷砖修补","定制","平整地平，碎石粉淀层、水泥砂浆6公分厚",28,"㎡"]
[6,null,null,"大理石石胶，按比例调配（水泥：砂=1:2或1:3）",28,"㎡"]
["七、综合楼及2号楼4到至8层墙面、天花修复（综合楼首层253平方、2号楼4至8层434平方）"]
[1,"墙面、天花灰层铲除","定制","1、漆面层、底灰层清除，2、筑垃圾清运至6KM外",687,"㎡"]
[2,"腻子粉批荡","定制","1、基底涂刷墙固+环保腻子粉批刮三次，并打磨平整",687,"㎡"]
[3,"刷漆","定制","1、刷底漆1遍+面漆2遍（净味环保油漆）",687,"㎡"]
["八、2号楼首层台阶陡陂安装（9个位置共14平方）"]
[1,"原地面打磨","定制","水泥面打磨清理",14,"㎡"]
[2,"钢筋","定制","6#钢筋网式安装",14,"㎡"]
[3,"混凝土C25","定制","国标、人工灌注",2,"㎡"]
[4,"摩擦面制作","定制","表面摩擦面制作",14,"㎡"]
["九、综合楼与山顶公园连接区地成平整（2个位置共25平方）"]
[1,"地面铲除原有砖石","定制","地底基层清除",25,"㎡"]
[2,"淀层铺设","定制","1、混凝土基础面\n2、国标石粉二层基础面",25,"㎡"]
[3,"地面广场砖修复","定制","1、四周灌浆、地面修复（广场砖利旧）",25,"㎡"]
[4,"清理运出","定制","余泥清除、运出",2.5,"㎡"]
["十、停车场玻璃棚修复"]
[1,"爆裂件拆除","定制","清拆、除胶、清运",1,"项"]
[2,"钢化加强玻璃","定制","8厘白玻（钢化）",8,"平方"]
[3,"结构胶","定制",null,3,"箱"]
[4,"防水补胶费","定制","清刮、清理、防水补胶",1,"项"]
["十一、消防监控中心静电地板改造"]
[1,"旧物拆除","定制","1）静电地板拆除；2）拆除废料外运:6km",{"v":40,"d":"40.00"},"m²"]
[2,"成品设备保护","定制","1）施工区域设备实施及已施工部分成品保护措施费",{"v":1,"d":"1.00"},"项"]
[3,"原设备复原","定制","1）消防主机（1）、消防操作台（1套）、监控机柜（3套）、网络机柜（1套）",{"v":1,"d":"1.00"},"项"]
[4,"地面平整","定制","1）地面平整；2）工程量按展开面积计算。",{"v":40,"d":"40.00"},"m²"]
[5,"全钢陶瓷静电地板","定制","2）离地20公分高度；3）工程量按展开面积计算。",{"v":40,"d":"40.00"},"m²"]
[6,"材料力资费","定制","1）材料运输及搬运",{"v":1,"d":"1.00"},"项"]
[7,"卫生清理费","定制","1）施工区域装修垃圾清理及保洁服务费",{"v":1,"d":"1.00"},"项"]
["十二、防水补漏工程（一、二号楼房间及其他区域卫生间）"]
["一号楼"]
[1,201,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[2,202,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[3,203,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[4,204,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[5,205,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[6,206,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[7,207,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[8,208,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[9,209,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[10,210,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[11,211,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[12,212,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[13,213,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[14,214,"定制","1、维修水管，测压。\n2、破损瓷砖修复。\n3、排水槽处理修复，防水涂料加固。\n4、卫生间砖缝破损清缝填缝修复。\n5、空调排水修复。\n6、地漏修复。",1,"间"]
[15,215,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[16,216,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[17,217,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[18,"2楼公共卫生间","定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[19,301,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[20,302,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[21,303,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[22,304,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[23,305,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[24,306,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[25,307,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[26,308,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[27,309,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[28,310,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[29,311,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[30,312,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[31,313,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[32,"3楼公共洗手间","定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[33,314,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[34,315,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[35,316,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[36,317,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[37,401,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[38,402,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[39,403,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[40,404,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[41,405,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[42,406,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[43,407,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[44,408,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[45,409,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[46,410,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[47,411,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[48,412,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[49,413,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[50,"4楼公共卫生间","定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[51,414,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[52,415,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[53,416,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[54,417,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[55,501,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[56,502,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[57,503,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[58,504,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[59,505,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[60,506,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[61,507,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[62,508,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[63,509,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[64,510,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[65,511,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[66,512,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[67,513,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[68,"5楼公共卫生间","定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[69,514,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[70,515,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[71,516,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[72,517,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[73,601,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[74,602,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[75,603,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[76,604,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[77,605,"定制","1、排水槽防水失效处理修复，防水涂料加固。",1,"间"]
[78,606,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[79,607,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[80,701,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[81,702,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[82,703,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[83,704,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[84,705,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[85,706,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[86,707,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[87,801,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[88,802,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[89,803,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[90,804,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[91,805,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[92,806,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[93,807,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
["二号楼"]
[1,"201-202","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[2,"2楼公共洗手间","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、水龙头更换处理。",1,"间"]
[3,"203-204","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[4,"205-206","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[5,"207-208","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[6,"209-210","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[7,"301-302","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[8,"3楼公共卫生间","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、水龙头更换处理。",1,"间"]
[9,"304-305","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[10,"B301-B302","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[11,"B303-B304","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[12,"B305-B306","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[13,"B401-B402","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[14,"B403-B404","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[15,"B405-B406","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[16,"401-402","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[17,"4楼公共卫生间","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、水龙头更换处理。",1,"间"]
[18,"404-405","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[19,"501-502","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[20,503,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损，清缝、填缝修复。\n3、处理空调排水。\n4、地漏断层修复。",1,"间"]
[21,"B501-B502","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[22,"B503-B504","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[23,"B505-B506","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[24,"601-602","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[25,"604-605","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[26,"B601-B602","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[27,"B603-B604","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[28,"B605-B606","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[29,701,"定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[30,702,"定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[31,703,"定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[32,704,"定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[33,"7楼公共卫生间","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、水龙头更换处理。",1,"间"]
[34,801,"定制","1、排水槽处理修复，防水涂料加固。\n2、卫生间砖缝破损清缝填缝修复。\n3、阳台砖缝清缝修复。\n4、空调排水修复。\n5、地漏修复。",1,"间"]
[35,802,"定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[36,803,"定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[37,804,"定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、空调排水处理修复。",1,"间"]
[38,"8楼公共卫生间","定制","1、卫生间排水槽处理修复，防水涂料加固。\n2、地漏断层修复。\n3、水龙头更换处理。",1,"间"]
["注：报价含运输费、安装费、税票。"]